Problem 9.56

What value of capacitance must be placed in parallel with the 18-kW load in Problem 9.51 in order to raise the power factor of this load to 0.9 lagging?

# Suggested Solution