Problem 10.56

A balanced three-phase source supplies power to three loads.  The loads are:

Load 1:	20 kVA at 0.6 pf lagging

Load 2:	12 kW at 0.75 pf lagging

Load 3:	unknown

If the line voltage at the load is 208 V rms, the magnitude of the total complex power is 35.52 kVA and the combined power factor at the load is 0.88 lagging, find the unknown load.

# Suggested Solution

lagging