Problem 10.55

A balanced three-phase source supplies power to three loads.  The loads are:

Load 1:	18 kW at 0.8 pf lagging

Load 2:	10 kVA at 0.6 pf leading

Load 3:	unknown

If the line voltage at the load is 208 V rms, the magnitude of the total complex power is 41.93 kVA and the combined power factor at the load is 0.86 lagging, find the unknown load.

# Suggested Solution

lagging