Problem 10.51

A small shopping center contains three stores that represent three balanced three-phase loads.  The power lines to the shopping center represent a three-phase source with a line voltage of 13.8 kV rms.  The three loads are:

Load 1:	500 kVA at 0.8 pf lagging

Load 2:	400 kVA at 0.85 pf lagging

Load 3:	300 kVA at 0.90 pf lagging

Find the magnitude of the power line current.

# Suggested Solution