Problem 10.50

A balanced three-phase source serves the following loads:

Load 1:	48 kVA at 0.9 pf lagging

Load 2:	24 kVA at 0.75 pf lagging

The line voltage at the load is 208 V rms at 60 Hz.  Determine the line current and the combined power factor at the load.

# Suggested Solution

lagging