Problem 9.44

An industrial load that consumes 80 kW is supplied by the power company through a transmission line with 0.1  resistance, with 84kW.  If the voltage at the load is 440 Vrms, find the power factor at the load.

# Suggested Solution