Problem 9.66

A number of 120-V household fixtures are to be used to provide lighting for a large room.  The total lighting load is 8 kW.  The National Electric Code requires that no circuit breaker be large than 20 A with a 25% safety margin.  Determine the number of identical branch circuits needed for this requirement.

# Suggested Solution