Problem 9.59

A small plant has a bank of induction motors that consume 64 kW at a pf of 0.68 lagging.  The 60-Hz line voltage across the motors is 2200V rms.  The local power company has tolad the plant to raise the pf to 0.92 lagging.  What value of capacitance is required?

# Suggested Solution