Problem 9.57

An industrial load is supplied through a transmission line that has a line impedance of 0.1 + j0.2 .  The    60-Hz line voltage at the load is 4800 V rms.  The load consumes 124 kW at 0.75pf lagging.  What value of capacitance when placed in parallel with the load will change the power factor to 0.9 lagging?

# Suggested Solution