Problem 8FE-2

In the circuit in Figure 8PFE-2, select the value of the transformer’s turns ratio n = N2/N1 to achieve impedance matching or maximum power transfer.  Using this value of n calculate the power absorbed by the 3-Ohm resistor.

# Suggested Solution

## The reflected impedance is  Z = ZL/n2

The value of n that will make the reflected impedance the complex conjugate of the impedance in the primary is:

n = ¼   i.e. (1/4)2 (48 + j32) = (3 – j2)*   and P3 = (1/2)(120/96)2(48) = 37.5W