Problem 9.61

A particular load has a pf of 0.8 lagging.  The power delivered to the load is 40 kW from a 220-V rms     60-Hz line.  What value of capacitance placed in parallel with the load will raise the pf to 0.9 lagging?

# Suggested Solution