Problem 9FE-1

An industrial load consumes 120 kW at 0.707 pf lagging and is connected to a 4800 V rms line.  Determine the value of the capacitor which, when connected in parallel with the load, will raise the power factor to 0.95 lagging.

# Suggested Solution