Problem 10.46

A balanced three-phase wye-wye system has two parallel loads.  Load 1 is rated at 3000 VA, 0.7 pf lagging, and load 2 is rated at 2000 VA, 0.75 pf leading.  If the line voltage is 208 V rms, find the magnitude of the line current.

# Suggested Solution