Problem 10.57

A standard practice for utility companies is to divide its customers into single-phase users and three-phase users.  The utility must provide three-phase users, typically industries, with all three phases.  However, single-phase users, residential and light commercial, are connected to only one phase.  To reduce cable costs, all single-phase users in a neighborhood are connected together.  This means that even if the three-phase users present perfectly balanced loads to the power grid, the single-phase loads will never be in balance, resulting in current flow in the neutral connection.

Consider the 60-Hz, abc-sequence network shown.  With a line voltage of , phase a supplies the single-phase users on A Street, phase b supplies B Street and phase c supplies C Street.  Furthermore, the three-phase industrial load, which is connected in delta, is balanced.  Find the neutral current.

# Suggested Solution