26.32:	Two voltmeters with different resistances are connected in series across a 120-V line. So the current flowing is I=VRtotal=120 V100×103 Ω=1.20×10−3 A. But the current required for full-scale deflection for each voltmeter is:

Ifsd (10 kΩ)=150 V10,000 Ω=0.0150 A and Ifsd 90 kΩ=150 V90,000 Ω=1.67×10−3 A.

So the readings are:

V10 kΩ=150 V1.20×10−3 A0.0150 A=12 V and V90 kΩ=150 V1.20×10−3 A1.67×10−3 A=108 V.